## Preliminaries Rates
PRELIMINARIES RATES
Updated: June 2026 ¦ Source: quantitysurveyoronline.com.my/preliminaries-rates.html
S/N | Description | Rate (RM) | Unit | Remarks
(A) | Temporary site office & buildings
1 | 6' x 6' x 8.5' Portable Guard House | RM2,300.00 | Unit | *Add RM135/no for extra window 2'x2'
2 | 20' x 10' x 8.5' Portable Office Cabin | RM4,300.00 | Unit
3 | 20' x 10' x 8.5' Heavy Duty Cabin | RM5,300.00 | Unit | *Add RM400.00 Hollow section 1½" x 2½" @ 18" interval for floor support
4 | 40' x 10' x 8.5' Portable Office Cabin | RM8,200.00 | Unit
5 | 40' x 12' x 8.5' Heavy Duty Cabin | RM9,800.00 | Unit
6 | 40' x 8' x 8.5' Storage Container (used) | RM10,000.00 | Unit
7 | 20' x 8' x 8.5' Storage Container (used) | RM6,000.00 | Unit
(B) | Site security
1 | Security guard | RM8.00 - RM10.00 | Hour per Guard
(C) | Light and power
1 | Connection Fee | RM2,000.00 - RM5,000.00 | Sum
2 | Power consumption for workers' | RM1.50 | Month per worker
3 | Power consumption for Tower crane | RM1,500.00 | Month per crane
4 | TNB Rate for Commercial use: (i) First 200 kwh | RM0.435 | Per Kw/h
| TNB Rate for Commercial use: (ii) Subsequent (>200) kwh | RM0.51 | Per Kw/h
5 | Small tools | RM200.00 - RM1,500.00 | Month
(D) | Water for the work
1 | Connection Fee | RM2,000.00 - RM5,000.00 | Sum
2 | Water tank and piping | RM500.00 - RM3,000.00 | No of tank
3 | Water construction for site accommodation | RM1.50 | Per month per no of worker
4 | Water consumption for site use | RM500.00 - RM5,000.00 | Sum
E | Project Signboard | RM3,000.00 - RM10,000.00 | No
(F) | Hoarding
1 | Metal hoarding, 8ft height | RM95.00 - RM110.00 | M2
2 | Maintenance | 20% of total cost of hoarding
G | Survey instruments | RM20,000.00 onwards | No
(H) | Safety precaution
1 | Safety boots | RM150.00 | Pair
2 | Safety helmets | RM20.00 | No
(I) | Fire protection
1 | Fire extinguisher | RM200.00 | No
(J) | Site management personnel
1 | Construction manager | RM20,000.00 | Pax
2 | Project Engineer | RM6,000.00 | Pax
3 | Supervisor | RM3,500.00 | Pax
4 | QS | RM4,500.00 | Pax
5 | AQS | RM2,800.00 | Pax
6 | M&E Coordinators | RM4,500.00 | Pax
K | Silt trap | RM550.00 onwards | No
L | CIDB - Levy | 0.125% of Contract Sum
(M) | Insurance of work
1 | Contractor's All Risk | 0.15% of Contract Sum
2 | Workmen's Compensation Policy | 0.075% of Contract Sum
N | Contract document stamping fee | 0.1% of Contract Sum |  | For government contracts, this rate applies to 2nd tier contract only; for non-government contracts, it applies to 1st tier contract only. Others are charged RM10.00 nominal fee.
O | Washing trough for vehicles leaving | RM15,000.00 onwards | No
P | Provision of Workers' Quarters (Timber Structure) | RM150 - RM250 | Per no of workers
Q | Hire portable toilet (with flushing) | RM600.00 | Month
R | Plant & Equipment |  |  | Please refer to page "Plant & Equipment Rate"
S | Scaffolding |  |  | Please refer to page "Plant & Equipment Rate"
T | Diesel | RM5.70 | Litre
U | Disposal of construction waste using Lorry Dump Truck (10 wheel) including dumping fee | RM350.00 | Trip
V | Traffic management & control | Item |  | To be priced according to the site constraints & Contract requirements

## Materials Prices
PRICES OF BUILDING MATERIALS
Updated: June 2026 ¦ Source: quantitysurveyoronline.com.my/materials-prices.html
S/N | Description | Rate (RM) | Unit | Remarks
(A) | Steel Bar (Rebar)
1 | Tensile steel bar, T10, T40 diameter | RM2,650.00 | Tonne | RM2.65/kg
2 | Tensile steel bar, T12, T32 diameter | RM2,500.00 | Tonne | RM2.50/kg
3 | Tensile steel bar, T16 diameter | RM2,400.00 | Tonne | RM2.40/kg
4 | Tensile steel bar, T20 diameter | RM2,400.00 | Tonne | RM2.40/kg
5 | Tensile steel bar, T25 diameter | RM2,450.00 | Tonne | RM2.45/kg
6 | Mild steel bar, R6, R8, R10, R12, R16 diameter | RM2,800.00 | Tonne | RM2.80/kg
(B) | Concrete
1 | Ready mixed concrete, Grade 10 (normal) | RM300.00 | M3
2 | Ready mixed concrete, Grade 10 (pump mix) | RM306.00 | M3
3 | Ready mixed concrete, Grade 15 (normal) | RM302.00 | M3
4 | Ready mixed concrete, Grade 15 (pump mix) | RM308.00 | M3
5 | Ready mixed concrete, Grade 20 (normal) | RM310.00 | M3
6 | Ready mixed concrete, Grade 20 (pump mix) | RM316.00 | M3
7 | Ready mixed concrete, Grade 25 (normal) | RM318.00 | M3
8 | Ready mixed concrete, Grade 25 (pump mix) | RM324.00 | M3
9 | Ready mixed concrete, Grade 30 (normal) | RM332.00 | M3
10 | Ready mixed concrete, Grade 30 (pump mix) | RM338.00 | M3
11 | Ready mixed concrete, Grade 35 (normal) | RM346.00 | M3
12 | Ready mixed concrete, Grade 35 (pump mix) | RM352.00 | M3
13 | Ready mixed concrete, Grade 40 (normal) | RM360.00 | M3
14 | Ready mixed concrete, Grade 40 (pump mix) | RM366.00 | M3
15 | Ready mixed concrete, Grade 45 (normal) | RM374.00 | M3
16 | Ready mixed concrete, Grade 45 (pump mix) | RM380.00 | M3
17 | Ready mixed concrete, Grade 50 (tremie 1 mix) | RM352.00 | M3
18 | Ready mixed concrete, Grade 55 (tremie 2 mix) | RM380.00 | M3
19 | Ready mixed concrete, Grade 60 (tremie 2 mix) | RM400.00 | M3
20 | Mortar 1:3 (normal) | RM265.00 | M3
21 | Mortar 1:4 (normal) | RM255.00 | M3
22 | Mortar 1:5 (normal) | RM245.00 | M3
23 | Mortar 1:6 (normal) | RM235.00 | M3
| GENERAL NOTE (Concrete section) | Add RM5.00/m3 - RM15.00/m3 for every normal grade; add RM6.00/m3 for pump mix; add RM12.00/m3 for tremie 1 mix; add RM18.00/m3 for tremie 2 mix; add RM25.00/m3 for JKR mix; add RM20.00/m3 for waterproofing mix (not including supply of additives); add RM40.00/m3 for chipping mix.
(C) | Plaster, Render & Skim Coat
1 | Cement, ordinary portland (50kg/bag) | RM26.00 | Bag
2 | Wallcrete (50kg/bag) | RM14.50 | Bag
3 | Sika non-shrink grout 215 (25kg/bag) | RM32.00 | Bag
4 | Finishing coat (white) for skim coat (25kg/bag) | RM18.70 | Bag
5 | Finishing coat (grey) for skim coat (40kg/bag) | RM21.50 | Bag
6 | Base coat (white) for skim coat (40kg/bag) | RM23.00 | Bag
7 | Base coat (grey) for skim coat (40kg/bag) | RM17.80 | Bag
8 | Rendering coat (40kg/bag) | RM16.10 | Bag
9 | Pre-packed plaster for block work (40kg/bag) | RM14.85 | Bag
(D) | Timber & Plywood
1 | 3mm thick plywood, (4' x 8') 2nd grade | RM23.00 | Piece | RM7.74/m2
2 | 6mm thick plywood, (4' x 8') 1st grade | RM39.00 | Piece | RM13.12/m2
3 | 6mm thick plywood, (4' x 8') 2nd grade | RM34.00 | Piece | RM11.44/m2
4 | 9mm thick plywood, (4' x 8') 2nd grade | RM45.00 | Piece | RM15.14/m2
5 | 12mm thick plywood, WBP 5 Ply (4' x 8') 1st grade | RM55.00 | Piece | RM18.50/m2
6 | 12mm thick plywood, WBP 5 Ply (4' x 8') 2nd grade | RM50.00 | Piece | RM16.82/m2
7 | 12mm thick plywood, tego, 7 Ply (4'x8') | RM55.00 | Piece | RM18.50/m2
8 | 12mm thick plywood, WBP, 7 Ply (4'x8') | RM52.00 | Piece | RM17.49/m2
9 | 12mm thick plywood, waterproof, 7 ply (4'x8') | RM53.50 | Piece | RM18.00/m2
10 | Wrot timber for formwork 1" x 2" of at least 8' long | RM1,100.00 | Tonne | RM792.88/m3
11 | Ditto; 1" x 2" of at least 12' long | RM1,650.00 | Tonne | RM1189.32/m3
12 | Ditto; 2" x 3" of at least 8' long | RM1,070.00 | Tonne | RM771.26/m3
13 | Ditto; 2" x 3" of at least 12' long | RM1,200.00 | Tonne | RM864.96/m3
14 | Ditto; 2" x 4" of at least 8' long | RM1,470.00 | Tonne | RM1059.58/m3
15 | Ditto; 2" x 4" of at least 12' long | RM1,600.00 | Tonne | RM1153.28/m3
(E) | BRC
1 | BRC A6 (2.2 x 6.0m) | RM67.32 | Piece | RM5.10/m2
2 | BRC A7 (2.2 x 6.0m) | RM91.56 | Piece | RM6.94/m2
3 | BRC A8 (2.2 x 6.0m) | RM119.83 | Piece | RM9.08/m2
4 | BRC A9 (2.2 x 6.0m) | RM151.25 | Piece | RM11.46/m2
5 | BRC A10 (2.2 x 6.0m) | RM186.70 | Piece | RM14.14/m2
6 | BRC A11 (2.2 x 6.0m) | RM226.20 | Piece | RM17.14/m2
7 | BRC A12 (2.2 x 6.0m) | RM298.90 | Piece | RM22.64/m2
8 | BRC B6 (2.2 x 6.0m) | RM113.10 | Piece | RM8.57/m2
9 | BRC B7 (2.2 x 6.0m) | RM137.33 | Piece | RM10.40/m2 (after rebate 66.00%)
(F) | Granular Material
1 | Washed fine sand | RM902 - RM990 | Per Load | 10-wheel lorry; 22 tonne. Also (RM41-RM45)/Tonne = RM87.40/m3
2 | Concreting sand/Coarse sand | RM704 - RM814 | Per Load | 10-wheel lorry; 22 tonne. Also (RM32-RM37)/Tonne = RM73.60/m3
3 | 3/4' Aggregates | RM34.50 | Tonne | RM80.36/m3
4 | 2" Crusher run | RM29.00 | Tonne | RM66.70/m3
5 | Mining sand | RM36.00 | Tonne
6 | 6' x 9' Granite stone block | RM33.00 | Tonne | RM75.90/m3
7 | Quarry dust | RM30.00 | Tonne | RM69.00/m3
8 | Quarry waste | RM21.00 | Tonne
(G) | Brick, Block & Panel
1 | Clay common brick | RM0.53 | Piece | RM31.41/m2
2 | Cement and sand brick | RM0.33 | Piece | RM24.18/m2
3 | Cement and sand block 610 x 210 x 115mm thick | RM3.00 | Piece | RM23.42/m2
4 | Fibre cement board (1220 x 2440 x 6mm thk) | RM39.00 | Piece | RM13.10/m2
5 | Fibre cement board (1220 x 2440 x 9mm thk) | RM63.00 | Piece | RM21.16/m2
6 | 600 x 200 x 125mm thick light weight AAC block | RM4.75 | Piece | RM39.58/m2
7 | Ditto; but for 100mm thick | RM3.80 | Piece | RM31.67/m2
8 | Ditto; but for 150mm thick | RM5.70 | Piece | RM47.50/m2
9 | Ditto; but for 200mm thick | RM7.60 | Piece | RM63.33/m2
10 | Bed Adhesive (40kg/bag) | RM25.00 | Bag
11 | Bondcrete white cement (25kg/bag) | RM17.80 | Bag
12 | Latex admixture for plastering 18 litre (susu) | RM63.00 | Drum
13 | Metal exmet 75mm (wide) x 120ft | RM9.00 | Roll
14 | 3000(l) x 600(w) x 125mm thick hollow core concrete panel including joints adhesive | RM46.00 | M2
15 | 3000(l) x 600(w) x 100mm thick hollow core concrete panel including joints adhesive | RM42.00 | M2
(H) | Tiles & Marble
1 | Tile, homogeneous, nosing tile 80 x 200mm | RM1.80 | Piece | RM9.00/m
2 | Tile, homogeneous; 300 x 300mm (light) | RM2.15 | Piece | RM23.89/m2
3 | Tile, homogeneous; 300 x 300mm (dark) | RM3.50 | Piece | RM38.89/m2
4 | Tile, homogeneous; 600 x 600mm | RM15.00 | Piece | RM41.67/m2
5 | Tile, porcelain; 600 x 600mm 1st grade | RM17.50 | Piece | RM48.61/m2
6 | Tile, porcelain; 600 x 300mm 1st grade | RM9.00 | Piece | RM50.00/m2
7 | Tile, porcelain; 800 x 800mm | RM39.00 | Piece | RM60.94/m2
8 | Tile, porcelain; 300 x 300mm | RM3.00 | Piece | RM33.33/m2
9 | Tile, ceramic; 300 x 600mm | RM4.00 | Piece | RM22.22/m2
10 | Tile, ceramic, 300 x 300mm | RM2.00 | Piece | RM22.22/m2
11 | Marble, polished 600 x 600 x 18mm thick | RM60.00 | Piece
12 | Tile adhesive (25kg/bag) | RM13.80 | Bag
13 | Tile adhesive premium (25kg/bag) | RM18.30 | Bag
14 | Tile adhesive additives (200g/bag) | RM6.50 | Bag
(I) | Paint
1 | Emulsion paint, wall sealer, 20 litres (for external use) | RM175.00 | Drum
2 | Emulsion paint, weather bond, 20 litres (for external use) | RM275.00 | Drum
3 | Emulsion paint, basecoat sealer, 20 litres (for internal use) | RM90.00 | Drum
4 | Emulsion paint, matex pro, 18 litres (for internal use) | RM68.00 | Drum
5 | Enamel paint for steelwork / ms railing / metal door / timber surface, gloss finish, 20 litres | RM360.00 | Drum
6 | Enamel paint for steelwork / ms railing / metal door / timber surface, primer, 20 litres | RM168.00 | Drum
(J) | Pipe
1 | 100mm dia. x 5.8m uPVC pipe (sirim approved) | RM11.38 | M
2 | 150mm dia. x 5.8m uPVC pipe (sirim approved) | RM24.90 | M
3 | 150mm dia. uPVC socket (sirim approved) | RM20.35 | No
4 | 100mm dia. uPVC elbow 45 degree | RM15.50 | No
5 | 100mm dia. uPVC elbow 90 degree | RM15.50 | No
6 | 100mm ductile iron gate valve D/F (BS5163) tupe b-tek | RM271.00 | No
7 | 100mm mild steel flange T/E (xtra hole) | RM10.50 | No
8 | 100mm mild steel P/E bend (painted) | RM56.50 | No
9 | 100mm rubber gasket T/E | RM1.50 | No
10 | RC pipe culvert (spigot socket joint) 300 dia.; 3.05m | RM183.60 | Piece
11 | Stainless steel pipe 20mm dia. x 6.1m (SCH 40) | RM128.00 | M
12 | High density polyethene pipes (HDPE); 110mm dia. PN10 black | RM16.80 | M
13 | Ditto; 160mm dia. PN10 black | RM35.40 | M
14 | Ditto; 110mm dia. PN10 red | RM18.55 | M
15 | Ditto; 160mm dia. PN10 red | RM38.34 | M
16 | Ditto; 110mm dia. PN8 black | RM13.87 | M
17 | Ditto; 160mm dia. PN8 black | RM29.04 | M
18 | Ditto; 110mm dia. PN8 red | RM15.30 | M
19 | Ditto; 160mm dia. PN8 red | RM31.46 | M
20 | Ductile iron pipe (K9); 100mm dia. x 6m | RM69.17 | M
21 | Ditto; 150mm dia. x 6m | RM86.67 | M
22 | Ditto; 200mm dia. x 6m | RM116.70 | M
23 | Ditto; 250mm dia. x 6m | RM154.16 | M
24 | Ditto; 300mm dia. x 6m | RM193.33 | M
25 | Ditto; 400mm dia. x 6m | RM295.83 | M
26 | Ditto; 500mm dia. x 6m | RM408.33 | M
27 | Ditto; 600mm dia. x 6m | RM562.50 | M
28 | Ditto; 700mm dia. x 6m | RM733.33 | M
(K) | Metal & Steel Work
1 | Mild steel hollow section 50mm x 50mm x 2.3mm thk x 6m(l) | RM3,611.93 | Tonne | RM3.61/kg
2 | Mild steel hollow section 75mm x 100mm x 2.3mm thk x 6m(l) | RM3,671.85 | Tonne | RM3.67/kg
3 | Mild steel plate; 6mm thick | RM2,600.00 | Tonne | RM2.60/kg
4 | Structural steel beams, columns of various sizes and the like | RM3,800.00 | Tonne | RM3.80/kg
(L) | Door
1 | Metal door frame; zincalum 1000mm(w) x 2000mm | RM13.60 | M
2 | Ditto; zincameal; 1.0mm(thk); 1000mm(w) x 2000mm(h) | RM9.60 | M
3 | Ditto; E.G electronic - galvanized; 1.0mm(thk); 1000mm(w) x 2000mm(h) | RM11.60 | M
4 | One-hour fire rated metal door frame; 900mm(w) x 2130mm(h) | RM34.40 | M
5 | Ditto; 1000mm(w) x 2130mm(h) | RM30.94 | M
6 | Two-hour fire rated metal door frame; 1200mm(w) x 2130mm(h) | RM13.89 | M
7 | One-hour fire resistant doorset including hinges; 900mm(w) x 2130mm(h) single leaf | RM260.82 | M2
8 | Ditto; 1000mm(w) x 2130mm(h) single leaf | RM244.13 | M2
9 | Ditto; 1200mm(w) x 2130mm(h) double leaf | RM309.07 | M2
10 | Ditto; 2000mm(w) x 2130mm(h) double leaf | RM242.72 | M2
11 | Ditto; 2400mm(w) x 2430mm(h) double leaf | RM214.33 | M2
12 | Two-hour fire-resistant door set including hinges; 1200mm(w) x 2130mm(h) double leaf | RM435.44 | M2
(M) | Ceiling Board
1 | Ceiling cemboard 1220 x 2440 x 8mm thick | RM48.50 | Piece | RM16.29/m2
2 | Ditto; 10mm thick | RM55.90 | Piece | RM18.78/m2
3 | Ditto; 12mm thick | RM65.00 | Piece | RM21.84/m2
4 | Ditto; 18mm thick | RM97.60 | Piece | RM32.79/m2
5 | Ditto; 20mm thick | RM105.30 | Piece | RM35.37/m2
6 | Ditto; 24mm thick | RM124.10 | Piece | RM41.69/m2
7 | Ditto; 30mm thick | RM152.90 | Piece | RM51.36/m2
8 | UAC ceiling board, 3.2mm thk; 2'x4' | RM3.60 | Piece
9 | Ceiling beading (meranti) 12mm x 32mm x 7' up | RM2.10 | Piece
10 | Ascoustic mineral fibre board, 15mm thick; 2'x4' | RM23.50 | Piece
(N) | Metal Roofing Sheet
1 | Metal roof sheet, colorbond; 0.47mm thick | RM40.00 | M2
2 | Corrugated zinc sheet (2'x10') | RM8.62 | M2
(O) | Premix
1 | Asphaltic concrete binder course (ACBC) | RM133.00 | Tonne
2 | Asphaltic concrete wearing course (ACWC) -14 (granite stone) | RM184.00 | Tonne
3 | Asphaltic concrete wearing (ACW) -20 (granite stone) | RM179.00 | Tonne
4 | Premix ACB 28 | RM179.00 | Tonne
5 | Bituminous road base ACB 28 | RM174.00 | Tonne
6 | Tack coat RS-1K (200 litre/drum) | RM300.00 | Tonne
7 | Prime coat SS-1K (200 litre/drum) | RM330.00 | Tonne
(P) | Drain
1 | 9" x 4½" x 30" (L) (225 x 760mm) precast concrete drain half round | RM5.30 | Piece
2 | Precast reinforced concrete U-shape drain without dry weather flow (600mm(w) x 600mm(h) x 1m(l)) | RM85.00 | Piece
3 | Precast reinforced concrete U-shape drain without dry weather flow (900mm(w) x 900mm(h) x 1m(l)) | RM145.00 | Piece
(Q) | Reinforced Concrete Pile
1 | 200mm x 200mm x 6m M/S Pointed | RM205.00 | Piece
2 | 200mm x 200mm x 6m Extension | RM225.00 | Piece
3 | 250mm x 250mm x 12m M/S Pointed | RM630.00 | Piece
4 | 250mm x 250mm x 12m Extension | RM673.00 | Piece
5 | 250mm x 250mm x 9m Extension | RM553.00 | Piece
6 | 250mm x 250mm x 6m Extension | RM453.00 | Piece
7 | 300mm x 300mm x 12m M/S Pointed | RM854.00 | Piece
8 | 300mm x 300mm x 12m Extension | RM899.00 | Piece
9 | 300mm x 300mm x 9m Extension | RM749.00 | Piece
10 | 300mm x 300mm x 6m Extension | RM619.00 | Piece
(R) | Miscellaneous
1 | PVC Corner Bead; 2.5 meter length | RM0.30 | M
2 | Polythene sheet; 12' x 180' x 0.25mm thick | RM150.00 | Rolls | RM0.75/m2
3 | Ditto; 12' x 180' x 0.125mm thick | RM90.00 | Rolls | RM0.45/m2
4 | Geotextile; 4m x 250m | RM2,100.00 | Rolls | RM2.10/m2
5 | Polypropylene geogrid membrane for soft ground | RM8.00 | M2
6 | HDPE geomembrane 1.5mm thick lining | RM20.00 | M2
7 | PVC waterstop 250mm wide x 15m long | RM375.00 | Roll
8 | Flexible cement based waterproofing coating (30kg/set); ABA 59m | RM195.00 | Set
9 | Liquid-applied moisture cure polyurethene waterproofing membrane (20 litre/pail) | RM435.00 / SGD145.00 | Pail | Approximately 0.8kg - 1kg per m2 per coat

## Labour Rates
LABOUR RATES
Updated: as at 19 Nov 2025 ¦ Source: quantitysurveyoronline.com.my/labour-rates.html
S/N | Description | Rate (RM) | Unit
(A) | General
1 | General Labour | RM80.00 - RM100.00 | Day
2 | Semi-skilled labour | RM100.00 - RM120.00 | Day
3 | Skilled labour | RM120.00 - RM140.00 | Day
(B) | Structural
1 | Labour to erect formwork | RM25.00 - RM28.50 | M2
2 | Labour to cut, bend & fix steel bar | RM450.00 - RM650.00 | Tonne
3 | Labour to lay BRC weldmesh | RM1.80 - RM2.50 | M2
4 | Labour to cast concrete | RM30.00 - RM55.00 | M3
(C) | Floor Finishes
1 | Labour to lay cement & sand screed to floor; 50mm thick, steel trowelled | RM9.00 | M2
2 | Ditto; 25mm thick, wood trowelled to receive carpet | RM7.00 | M2
3 | Ditto; 15mm thick, wood trowelled to receive tiles | RM6.00 | M2
4 | Labour to lay tile to floor; homogeneous 300x300 (for low-rise building) | RM18.00 | M2
5 | Labour to lay tile to floor; homogeneous 300x300 (for high-rise building) | RM23.00 | M2
6 | Labour to lay marble to floor; with adhesive and waterproofing impregnator | RM85.00 | M2
7 | 20mm cement and sand screed paving to floor | RM19.30 | M2
8 | Ditto; to tread and riser of staircase | RM4.50 | M
9 | Extra over for 75mm wide homogeneous nosing tiles | RM4.50 | M
10 | 50mm thick as protective screed laid to falls | RM25.00 | M2
(D) | Wall Finishes
1 | Labour to lay bricks; 115mm thick | RM13.50 | M2
2 | Labour to install lintol 100mm x 100mm | RM15.00 | M
3 | Labour to lay damp proof course, 230mm wide | RM0.30 | M
4 | Labour to plaster wall; cement & sand 20mm thick, 3 coats; external | RM13.60 | M2
5 | Labour to plaster wall; cement & sand 20mm thick; 3 coats; internal | RM12.50 | M2
6 | Labour only to install corner beads | RM3.50 | M
7 | Labour to install light weight block; 125mm thick ACC block wall | RM15.00 | M2
8 | Ditto; 150mm thick | RM18.00 | M2
9 | Ditto; 200mm thick | RM24.00 | M2
10 | Labour to apply 25mm thick sponge finish cement sand plaster (1:4) to all external block wall / RC structure surfaces | RM17.00 | M2
11 | Cement and sand (1:4) with an approved plasticiser - 20mm plain face to wall | RM15.50 | M2
12 | Labour to skim coat; 5mm thick | RM4.00 | M2
13 | Labour to skim coat; 10mm thick | RM7.00 | M2
(E) | Door
1 | Labour to fix timber door; single leaf | RM65.00 | No
2 | Labour to fix timber door; double leaves | RM85.00 | No
3 | Labour to install 1.0mm thick metal door frame - overall size 1000 x 2100mm wide | RM18.00 | No
| Labour to install 1.0mm thick metal door frame - overall size 2400 x 3000mm wide | RM20.00 | No
4 | Labour to install 1.2mm thick 1 hr fire rated metal door frame - overall size 1000 x 2100mm wide | RM18.00 | No
| Labour to install 1.2mm thick 1 hr fire rated metal door frame - overall size 2400 x 3000mm wide | RM20.00 | No
5 | Labour to infill cement mortar to metal door frame - overall size 1000 x 2100mm wide | RM3.00 | No
| Labour to infill cement mortar to metal door frame - overall size 2400 x 3000mm wide | RM3.00 | No
(F) | Sanitary Wares & Fitting
1 | Labour to install WC | RM80.00 | Set
2 | Labour to install basin & pillar tap | RM65.00 | Set
3 | Labour to install kitchen sink & sink tap | RM65.00 - RM70.00 | Set

## Plant & Equipment Rates
PLANT & EQUIPMENT RATES
Updated: as at 19 Nov 2025 ¦ Source: quantitysurveyoronline.com.my/plant--equipment-rates.html
S/N | Description | Rate (RM) | Unit
(A) | Generator
1 | 20 KVA generator set | RM700.00 | Month
2 | 50 KVA generator set | RM1,300.00 | Month
3 | 60 KVA generator set | RM1,500.00 | Month
4 | Bar cutter machine | RM450.00 | Month
5 | Bar bending machine | RM450.00 | Month
6 | Road roller compactor, 1 tonne | RM900.00 | Month
7 | 25 tonne vibrate roller | RM550.00 / RM8,300.00 | Day (8 hours) / Month
8 | Welding set (diesel) 500 amp | RM900.00 | Month
(B) | Lorry
1 | Lorry with driver; 6 wheels (incl. diesel) | RM400.00 | Day (8 hours)
2 | Lorry with driver, 6 wheels long body (incl. diesel) | RM500.00 | Day (8 hours)
3 | Lorry with driver, 10 wheels (incl. diesel) | RM600.00 | Day (8 hours)
4 | Lorry crane, 8 tonne 6 wheels; with driver (incl. diesel) | RM550.00 | Day (8 hours)
5 | Lorry crane, 15 tonne 10 wheels, with driver (incl. diesel) | RM1,100.00 | Day (8 hours)
6 | Lorry crane, 8 tonne 6 wheels, without driver (incl. diesel) | RM420.00 | Day (8 hours)
7 | Backhoe with operator (incl. diesel for Day only) | RM400.00 / RM8,000.00 | Day (8 hours) / Month
8 | Backhoe c/w breaker with operator (incl. diesel for Day only) | RM550.00 | Day (8 hours)
9 | Excavator (incl. diesel for Day only) | RM1,000.00 / RM9,500.00 | Day (8 hours) / Month
10 | 40' cargo trailer (max 20 ton) | RM1,200.00 | Trip
(C) | Crane
1 | Mobile crane, 16 tonne (incl. diesel for Day only) | RM600.00 / RM11,500.00 | Day (8 hours) / Month
2 | Mobile crane, 20 tonne (ditto) | RM750.00 / RM13,500.00 | Day (8 hours) / Month
3 | Mobile crane, 25 tonne (ditto) | RM1,100.00 / RM18,000.00 | Day (8 hours) / Month
4 | Mobile crane, 35 tonne (ditto) | RM1,300.00 / RM24,000.00 | Day (8 hours) / Month
5 | Mobile crane, 45 tonne (ditto) | RM1,600.00 / RM26,000.00 | Day (8 hours) / Month
6 | Mobile crane, 53 tonne (ditto) | RM2,400.00 / RM32,000.00 | Day (8 hours) / Month
7 | Mobile crane, 60 tonne (ditto) | RM2,500.00 / RM36,000.00 | Day (8 hours) / Month
8 | Mobile crane, 80 tonne (ditto) | RM3,000.00 / RM42,000.00 | Day (8 hours) / Month
9 | Mobile crane, 85 tonne (ditto) | RM3,200.00 / RM45,000.00 | Day (8 hours) / Month
10 | Mobile crane, 120 tonne (ditto) | RM4,500.00 / RM55,000.00 | Day (8 hours) / Month
11 | Mobile crane, 110 tonne (ditto) | RM4,000.00 / RM50,000.00 | Day (8 hours) / Month
12 | Mobile crane, 160 tonne (ditto) | RM7,500.00 / RM80,000.00 | Day (8 hours) / Month
13 | Mobile crane, 200 tonne (ditto) | RM7,500.00 / RM100,000.00 | Day (8 hours) / Month
14 | Tower crane with operator | RM25,000.00 | Month
15 | Tower crane's operator | RM6,500.00 | Month
16 | Skylift 25 meter with operator | RM700.00 | Day (8 hours)
17 | Skylift 26 meter with operator | RM500.00 / RM10,500.00 | Day (8 hours) / Month
18 | Skylift 54 meter with operator | RM2,200.00 / RM38,000.00 | Day (8 hours) / Month
19 | Gondola counterweight system (4 meter) | RM1,700.00 | Month
(D) | Pump
1 | Concrete pump truck 36m boom | RM17.00 | M3 (For normal hours; for OT, RM400 surcharge + RM50 per hour)
2 | Mortar pump c/w electric motor | RM2,150.00 | Month
3 | Screed pump c/w electric Motor; capacity 270 liter | RM3,009.93 | Month
4 | Screed pump c/w electric Motor; capacity 500 liter | RM2,600.00 | Month
5 | Air compressor c/w diesel engine; capacity 390 CFM | RM2,000.00 | Month
6 | Air compressor c/w diesel engine; capacity 265 CFM | RM2,000.00 | Month
7 | Concrete mixer 300/200 litres | RM420.00 | Month
8 | Vibrator 38mm | RM300.00 | No (Purchase)
(E) | Scaffolding
1 | Scaffold - Main frame 1219 x 1700 mm (new) | RM33.00 | No (Purchase)
2 | Scaffold - Main frame 1219 x 1700 mm (2nd Hand) | RM12.10 | No (Rental)
3 | Scaffold - Main frame 1219 x 914 mm (new) | RM31.00 | No (Purchase)
4 | Scaffold - G.I cross brace 1219 x 1829 mm (New) | RM14.50 | No (Purchase)
5 | Scaffold - G.I cross brace 1219 x 1829 mm (2nd Hand) | RM0.80 | No (Rental per month)
6 | Scaffold - Joint pin 215mm (New) | RM2.20 | No (Purchase)
7 | Scaffold - Joint pin 215mm (2nd Hand) | RM0.20 | No (Purchase)
8 | Scaffold - U head 600mm (New) | RM14.20 | No (Purchase)
9 | Scaffold - U head 600mm (2nd Hand) | RM14.00 | No (Purchase)
10 | Scaffold - U head 600mm (2nd Hand) | RM0.80 | No (Rental per month)
11 | Scaffold - Jack base 600mm (New) | RM13.20 | No (Purchase)
12 | Scaffold - Jack base 600mm (2nd Hand) | RM13.00 | No (Purchase)
13 | Scaffold - Jack base 600mm (2nd Hand) | RM0.80 | No (Rental per month)
14 | Scaffold - Swivel clamp 48.6mm (2nd Hand) | RM0.50 | No (Rental per month)
15 | Scaffold - Fixed clamp 48.6mm (2nd Hand) | RM6.00 | No (Purchase)
16 | Scaffold - GI pipe 48.6mm 2.00mm x 6m | RM6.00 | No (Purchase)
17 | Scaffold - GI pipe 48.6mm 2.00mm x 3m | RM3.00 | No (Rental per month)
18 | Wall tie 1200 mm | RM1.40 | No (Rental per month)

## All-in Rates (Architecture)
ALL-IN RATES (ARCHITECTURAL WORKS)
Updated: June 2026 ¦ Source: quantitysurveyoronline.com.my/all-in-rates-architecture.html
S/N | Description | Rate (RM) | Unit
(A) | Brickwall & Lightweight Blockwall
1 | 115mm thick brickwall in cement & sand brick reinforced with expanded metal brickwork reinforcement at every 4th course | RM43.60 | M2
2 | 230mm thick brickwall in cement & sand brick reinforced with expanded metal brickwork reinforcement at every 4th course | RM87.10 | M2
3 | 115mm thick brickwall in clay common brick reinforced with expanded metal brickwork reinforcement at every 4th course | RM56.00 | M2
4 | 230mm thick brickwall in clay common brick reinforced with expanded metal brickwork reinforcement at every 4th course | RM112.00 | M2
5 | 450mm thick brickwall in clay common brick reinforced with expanded metal brickwork reinforcement at every 4th course | RM219.10 | M2
6 | Supply and install 100mm thick lightweight AAC block 200mm x 600mm using approved thin bed adhesive, including setting out works, damp proof course, wall tie, fibre mesh, fill up gaps at sides and top edges and all necessary tools to the completion of blockwall | RM54.10 | M2
7 | Supply and install 125mm thick lightweight AAC block 200mm x 600mm (ditto) | RM65.70 | M2
8 | Supply and install 150mm thick lightweight AAC block 200mm x 600mm (ditto) | RM78.80 | M2
9 | Supply and install 200mm thick lightweight AAC block 200mm x 600mm (ditto) | RM101.90 | M2
(B) | Painting
1 | Prepare and apply 1 undercoat and 2 finishing coats of emulsion paint to plastered surface internally | RM3.67 | M2
2 | Prepare and apply 1 undercoat and 2 finishing coats of emulsion paint weather bond to plastered surface externally | RM7.14 | M2
3 | Prepare and apply 1 undercoat and 2 finishing coats of enamel paint to metal/timber surface, not exceeding 300mm girth | RM2.31 | M
4 | Prepare and apply 1 undercoat and 2 finishing coats of enamel paint to metal/timber surface, exceeding 300mm girth | RM4.63 | M
5 | Prepare and apply 1 undercoat of Alkaline Resisting Wall Sealer and 2 finishing coats of 4 season acrylic finish to plastered surface | RM9.26 | M2
(C) | Floor Finishes
1 | Supply labour and materials to lay 200 x 200mm homogeneous tiles to floor (any grade, size, colour and pattern) jointed at 5mm wide and pointed with approved grout including minimum 20mm thick base screed | RM41.81 | M2
2 | Ditto; 300 x 300mm homogeneous tiles | RM63.64 | M2
3 | Ditto; 200 x 200mm ceramic tiles | RM54.59 | M2
4 | Ditto; 600 x 300mm porcelain tiles | RM75.00 | M2
5 | Ditto; 600 x 600mm porcelain tiles | RM123.41 | M2
6 | Supply labour and materials to lay 18mm thick polished marble including waterproofing impregnator and bedded on screed (measured separately) with adhesive | RM265.00 - RM305.00 | M2
7 | Supply labour for laying cobble stone tiles 100 x 100mm as specified to floor jointed at 8mm wide and pointed with approved grout including minimum 50mm thick base screed | RM132.92 | M2
8 | Supply labour and materials to lay Vinyl tiles 305 x 305mm to floor (Imperial Series to any colour and pattern) jointed at 5mm wide with approved adhesive including minimum 25mm thick base screed | RM51.20 | M2
9 | Supply labour for laying interlocking pavers to floor laid on and including 225mm thick hardcore and 50mm thick sand blinding | RM44.49 | M2
10 | Supply and lay heavy duty carpet with underlay to floor including carpet adhesive but not including cement and sand backing screed | RM96.58 | M2
11 | Supply labour for laying imprint concrete to floor including hardener and 2 coats of sealer | RM27.26 | M2
12 | Supply and apply 5mm thick skim coat to sides and soffit of beam/slab | RM8.50 | M2
(D) | Floor Screed & Coatings
1 | 25mm thick cement and sand (1:3) screed rendering to ground floor trowelled to a smooth finish including coved and rounded angles | RM23.10 | M2
2 | Prepare and apply PU epoxy coating Mackincote PU54 to floor rolled to a smooth finish including coved and rounded angles | RM22.73 | M2
3 | 5mm thick acrylic polymer cementitious screed Bondseal rendering to ground floor trowelled to a smooth finish including coved and rounded angles | RM27.26 | M2
4 | Prepare and apply waterproofing coating to floor rolled to a smooth finish | RM28.00 | M2
(E) | Ceiling Finishes
1 | Supply and apply 3mm thick skim coat (Smooth finish) to soffit of concrete | RM6.60 | M2
2 | Supply labour and materials to lay 3.2mm thick asbestos flat sheet to ceiling suspended by and including metal ceiling grid | RM27.75 | M2
3 | Supply labour and materials to lay 15mm thick acoustic mineral fibre board to ceiling suspended by and including metal ceiling grid | RM44.73 | M2
4 | Supply labour and materials to lay 15mm thick acoustic mineral fibre board fixed on & including galvanized steel suspension ceiling | RM50.68 | M2
5 | 9mm thick 600x1200 gypsum plasterboard fixed on & including suspended ceiling tee | RM23.14 | M2
6 | 9mm thick plasterboard fixed on and including galvanized steel suspension ceiling | RM31.34 | M2
7 | Supply and install 9mm thick approved moisture resistant plasterboard ceiling including aluminium suspension tee system, levelling and setting out symmetrically from centre of the room and necessary trimming and cutting for light points, access panels etc.; height n.e. 3.0m high | RM38.00 | M2
8 | Ditto; height exceeding 9.0m but not exceeding 10.10m high | RM48.00 | M2
(F) | Wall Finishes
1 | 25mm thick cement and sand (1:3) rendering to wall in 3 coats trowelled to a smooth finish including coved and rounded angles | RM30.40 | M2
2 | Supply and apply 5mm thick skim coat comprising 1 base coat and 1 finishing coat (smooth finish) to all internal RC wall surfaces (excluding surface to receive tiles) including preparation of surface to receive skim coat | RM8.50 | M2
3 | Supply and apply 12mm thick AAC render (Sponge finish) to all external block wall / RC structure surfaces (beams, columns, lintels and opening perimeter) including preparation of surface to receive render coat | RM26.40 | M2
4 | Supply labour and materials to lay 300 x 300mm homogeneous tiles to wall jointed at 5mm wide and pointed with approved grout including minimum 20mm thick base screed | RM65.64 | M2
5 | Supply labour and materials to lay 300 x 600mm ceramic tiles to wall (ditto) | RM48.53 | M2
6 | Supply labour and materials to lay 600 x 600mm porcelain tiles to wall (ditto) | RM75.46 | M2
(G) | Metal & Steel Work
1 | Supply mild steel grating c/o frame with steel infill including painting with galvanizing of steel sizes as specified | RM1,101.36 | M2
2 | Supply and install mild steel balcony railing 1200mm high constructed of 50mm x 75mm x 1.2mm thick mild steel rectangular hollow section as top handrail; 38mm x 38mm x 1.2mm thick mild steel square hollow section as bottom & intermediate rail; 38mm x 38mm x 1.2mm thick mild steel hollow section as baluster with bottom end of baluster welded to mild steel plate and bolted to floor slab with 4 Nos. approved expansion bolts; infilled vertically between balusters with 25mm x 25mm x 1.2mm thick mild steel square hollow section at 85mm centres and all framed, welded and fixed into position including all necessary bends, angles and closing all open ends complete with red oxide paint to all exposed metal work | RM130.00 | M2
3 | Supply and install anti-climb fence including 50mm x 150mm x 150mm x 5mm diameter x 1.2m height supported with 60mm diameter post at 2400mm centres and fixed to concrete slab | RM143.00 | M
4 | Supply & erect and hoist & fix in position the structural steel elements including 1 coat of MIO primer but excluding cranage | RM5.75 | KG
(H) | Roofing
1 | Supply labour and materials to lay Interlocking Concrete Roof Tiles size 420 x 330 x 30mm including timber battens 50 x 25mm | RM36.65 | M2
2 | Supply labour and materials to lay Interlocking Clay Roof Tiles size 420 x 330 x 30mm including timber battens 50 x 25mm | RM60.42 | M2
3 | Supply labour and materials to lay 0.47mm thick metal roof sheet; colorbond | RM45.00 | M2
4 | Supply labour and materials to lay 1250 x 48000 x 0.125mm thick aluminium foil | RM4.13 | M2
5 | Supply labour and materials to lay 1200 x 7500 x 50mm thick Rockwool insulation (40 kg/m3) | RM12.61 | M2
6 | Supply labour and materials to fix roof flashing approximate 450mm overall girth; twice bent; well packed and bedded on cement and sand; one end fixed to brickwork and the other end dressed under roofing sheets; including pointing with approved bituminous sealant to water tightness | RM28.00 | M
(I) | Waterproofing
1 | Supply and lay damp proof membrane 0.25mm thick | RM3.94 | M
2 | Supply and apply three coats of cementitious waterproofing system to bathroom floor including 25mm x 25mm angle fillets; in cement and sand (1:3); applied at the rate of minimum 1.0kg/m2 per coat; including preparing substrate free from debris, oil, laitance, etc. and including working around scupper drain | RM28.00 | M2
3 | Supply and apply 1.10mm thick liquid applied waterproofing membrane system to R.C. flat roof including preparing substrate free from debris, oil, laitance, etc. but excluding protective screed in cement and sand (1:3) to R.C. flat roof and perimeter upturn; and excluding primer on top of protective screed; and including working around scupper drain, dressing around all rainwater downpipes, vent pipe outlets and any other protrusion through the waterproofing membrane | RM42.00 | M2

## All-in Rates (Structure)
ALL-IN RATES (STRUCTURAL WORKS)
Updated: June 2026 ¦ Source: quantitysurveyoronline.com.my/all-in-rates-structure.html
S/N | Description | Rate (RM) | Unit
(A) | Piling Works
1 | Allow for the provision for mobilisation and demobilisation of all necessary piling equipment and plant | RM15,000.00 | LS
2 | Allow for the submission of piling records and duly signed by the Contractor and Clerk of Works as works proceeds | RM2,500.00 | LS
(3) | Supply, delivery, unload the following Sirim approved RC Piles only (Commercial Pile):
a | 300mm x 300mm initial pile in 12.00m length including x-pointed shoes and end plate to engineer's approval | RM854.00 | No
b | 250mm x 250mm initial pile in 12.00m length including x-pointed shoes and end plate to engineer's approval | RM630.00 | No
c | 200mm x 200mm initial pile in 6m length including x-pointed shoes and end plate to engineer's approval | RM205.00 | No
d | 300mm x 300mm extension pile in 12.00m length | RM899.00 | No
e | 250mm x 250mm extension pile in 12.00m length | RM673.00 | No
f | 300mm x 300mm extension pile in 6.00m length | RM619.00 | No
g | 250mm x 250mm extension pile in 6.00m length | RM453.00 | No
h | 200mm x 200mm extension pile in 6.00m length | RM225.00 | No
(4) | Handle, transport and pitch RC Piles:
a | 300mm x 300mm pile in 12.00m length | RM18.00 | No
b | 250mm x 250mm pile in 12.00m length | RM18.00 | No
c | 300mm x 300mm pile in 6.00m length | RM9.00 | No
d | 250mm x 250mm pile in 6.00m length | RM9.00 | No
e | 200mm x 200mm pile in 6.00m length | RM9.00 | No
(5) | Drive (Initial/Extension) precast concrete pile and to the required set from finished platform level:
a | Drive 300mm x 300mm RC pile | RM8.50 | M
b | Drive 250mm x 250mm RC pile | RM7.00 | M
c | Drive 200mm x 200mm RC pile | RM5.50 | M
(6) | Butt weld joint at connection to manufacturer's requirement:
a | 300mm x 300mm precast RC pile | RM30.00 | No
b | 250mm x 250mm precast RC pile | RM25.00 | No
c | 200mm x 200mm precast RC pile | RM20.00 | No
(7) | Cut of pile heads to required level as directed including reinforcement and cleaning, bedding and cutting reinforcement for incorporation into supported structure and remove pile heads:
a | 300mm x 300mm RC pile head | RM40.00 | No
b | 250mm x 250mm RC pile head | RM35.00 | No
c | 200mm x 200mm RC pile head | RM30.00 | No
(8) | Provide Pile Dynamic Analysis (PDA) test providing all necessary labour records and submission of report:
a | 300mm x 300mm RC pile | RM1,000.00 | No
b | 250mm x 250mm RC pile | RM1,000.00 | No
c | 200mm x 200mm RC pile | RM1,000.00 | No
(9) | Load Test:
a | Preliminaries test load for 300mm x 300mm pile of twice working load - Pile capacity 1100KN | RM33,000.00 | No
b | Subsequent test load for 300mm x 300mm pile of twice working load | RM26,400.00 | No
c | Preliminaries test load for 250mm x 250mm pile of twice working load - Pile capacity 750KN | RM22,500.00 | No
d | Subsequent test load for 250mm x 250mm pile of twice working load | RM18,000.00 | No
e | Preliminaries test load for 200mm x 200mm pile of twice working load - Pile capacity 450KN | RM13,500.00 | No
f | Subsequent test load for 200mm x 200mm pile of twice working load | RM10,800.00 | No
(B) | Excavation
1 | Excavation in rock and deposit on spoil heap including breaking up into pieces but not including removal of excavated rock materials from the site | RM77.50 | M3
2 | Excavate trenches not exceeding 2.00m deep part return, fill in and ram, remainder cart away within site, deposit, spread and level as directed not including planking and strutting | RM19.50 | M3
3 | Excavate trenches not exceeding 2.00m part return, fill in and ram, remainder cart away, deposit, spread with site and level as directed including planking and strutting | RM25.00 | M3
4 | Removal of excavated materials from spoil heap to contractor's dumping ground including loyalties fees but excluding dumping fees | RM25.10 | M3
5 | Import of sand from source, filling and compact to the required level including loyalties fees but excluding dumping fees | RM38.20 | M3
(C) | Bedding
1 | Supply and lay 50mm thick sand as blinding in foundations, ground beams, etc. | RM11.70 | M2
2 | Supply 50mm thick reinforced concrete Grade 15 as lean concrete in foundations, ground beams, etc. with 25mm to 10mm granite normal mixed, including working around rod or fabric | RM18.50 | M2
3 | Hardcore and the like as described; levelled; well consolidated and ready to receive driveway slab | RM15.20 | M2
(D) | Reinforced Concrete (Normal)
1 | Supply and cast reinforced concrete Grade 20 in foundations, ground beams, etc. | RM393.70 | M3
2 | Supply and cast reinforced concrete Grade 25 in foundations, ground beams, etc. | RM402.10 | M3
3 | Supply and cast reinforced concrete Grade 30 in foundations, ground beams, etc. | RM416.80 | M3
4 | Supply and cast reinforced concrete Grade 35 in foundations, ground beams, etc. | RM431.50 | M3
5 | Supply and cast reinforced concrete Grade 40 in foundations, ground beams, etc. | RM446.20 | M3
6 | Supply and cast reinforced concrete Grade 45 in foundations, ground beams, etc. | RM460.90 | M3
(E) | Formwork
1 | Supply and erect timber FORMWORK to surface for Pile Cap/Footing, Ground Beam, Suspended Beam, Column/Column Stump, and Slab | RM47.90 | M2
2 | Supply and erect steel FORMWORK to surface for Pile Cap/Footing, Ground Beam, Suspended Beam, Column/Column Stump, and Slab | RM42.00 | M2
(F) | Reinforcement Bar
1 | Supply high tensile bar fabricated and laid in position including labour for forming stirrups, links, etc. exceeding 12mm diameter | RM3.47 | KG
2 | Supply high tensile bar fabricated and laid in position including labour for forming stirrups, links, etc. not exceeding 12mm diameter | RM3.68 | KG
(G) | BRC
1 | Supply and place BRC or other equal and approved welded steel FABRIC REINFORCEMENT well lapped (minimum 1 square) and tied at joints (measured nett) (BRC A6) | RM11.52 | M2
2 | Ditto (BRC A7) | RM13.77 | M2
3 | Ditto (BRC A8) | RM16.40 | M2
4 | Ditto (BRC A9) | RM19.33 | M2
5 | Ditto (BRC A10) | RM22.63 | M2
6 | Ditto (BRC A12) | RM33.07 | M2
7 | Ditto (BRC B6) | RM15.78 | M2
8 | Ditto (BRC B7) | RM18.03 | M2